## Sheet1
From The American Wire Gage Table: | [5 empty] | P1394a Doc. #: 97-076R1.XLS
22 AWG (7/30) has: |  |  |  | 20 AWG (7/28) has: |  |  |  | 18 AWG (19/30) has:
16.1 | Ohms Resistance Per: |  |  | 10.1 | Ohms Resistance Per: |  |  | 6.02 | Ohms Resistance Per:
1000 | Feet -OR- | 304.8 | Meters | 1000 | Feet -OR- | 304.8 | Meters | 1000 | Feet -OR- | 304.8 | Meters
Resistance = | 0.052822 | Per Meter |  | Resistance = | 0.033136 | Per Meter |  | Resistance = | 0.019751 | Per Meter
Contact Resistance = |  | 0.03 | Ohms/Contact -OR- : |  | 0.06 | Ohms per cable
(Refer: 1394-1995 pgs. 64-72, Clause 4.2.1.3 (and associated sub-clauses), Tables 4-4, 4-5, 4-7 & 4-8)
WIRE AND CABLE RESISTANCE
Wire Length (meters) |  | Wire Resist. (Ohms) |  | Cable Resist. (Ohms) |  | AWG
4.5 |  | 0.2377 |  | 0.2977 |  | 22
7 |  | 0.23196 |  | 0.29196 |  | 20
12 |  | 0.23701 |  | 0.29701 |  | 18
Reference Formulae: E = IR; P = EI; P = I2R; E=P/I
Assume a cable current of: |  |  | 1.5 | Amperes
(Refer: 1394-1995a Draft 1.1 pg. 60, Clause 7.2, Table 7-1)
CABLE POWER & VOLTAGE DROP CHARACTERISTICS
Wire Length (meters) |  | Cable Resist. (Ohms) |  | Power Drop (Watts) |  | Voltage Drop (Volts)
4.5 |  | 0.2977 |  | 0.66982 |  | 0.44655
7 |  | 0.29196 |  | 0.6569 |  | 0.43793
12 |  | 0.29701 |  | 0.66827 |  | 0.44551
Trace Resistance and Current Limiter Resistance: |  |  |  |  | Length (Inch) |  | Ohms Per Inch |  | Total
|  |  |  | Trace: | 8 |  | 0.005 |  | 0.04
[5 empty] | Quantity | Ohms Per Device |  |  | Total
|  |  | Current Limiters: |  | 2 | 0.21 |  |  | 0.42
|  | Total Resistance From Porta input to Portb Output: |  |  |  |  | 0.46 | Ohms
CABLE AND NODE PASS THROUGH POWER & VOLTAGE DROP CHARACTERISTICS
Cable Length (meters) |  | HOP Resistance |  | Power Drop (Watts) |  | Voltage Drop (Volts)
4.5 |  | 0.7577 |  | 1.7048 |  | 1.1365
7 |  | 0.75196 |  | 1.6919 |  | 1.1279
12 |  | 0.75701 |  | 1.7033 |  | 1.1355
Volts | Watts | PWR_CLASS = 001b |  |  | Volts | Watts | PWR_CLASS = 010b
15 | 22.5 | MAX HOPS |  |  | 30 | 45 | MAX HOPS
Length (meters) |  | (3 Watts) | (7.5 V) |  | Length (meters) |  | (3 Watts) | (7.5 V)
4.5 |  | 11 | 6 |  | 4.5 |  | 24 | 19
7 |  | 11 | 6 |  | 7 |  | 24 | 19
12 |  | 11 | 6 |  | 12 |  | 24 | 19
Volts | Watts | PWR_CLASS = 011b
30 | 45 | MAX HOPS
Length (meters) |  | (3 Watts) | (7.5 V)
4.5 |  | 24 | 19
7 |  | 24 | 19
12 |  | 24 | 19